## Slide 1: RunReady: Campus Weather & Air Quality Analyzer
Szarka Móric (Project Leader), Békési Marcell
Smart City Infocommunication Technologies project

## Slide 2
Project Goal & Overview
The Problem: Students and faculty often don't know if the local air quality and weather are safe and comfortable for outdoor activities like running or walking.
The Solution: A real-time monitoring dashboard that collects local weather (temperature, humidity, wind) and air pollution (AQI, PM2.5, PM10) data via APIs for the university area.
The Value: The system will calculate a custom "Runability Score" (e.g., 0-100) combining these factors to provide an immediate recommendation on whether it's a good time to go outside.

## Slide 3
Task Breakdown & Commitments
Data Ingestion: Write a Python script to reliably fetch real-time data from weather and AQI APIs.
Algorithm Development: Create the logic for the "Runability Score" that penalizes extreme heat/cold, high wind, and poor air quality.
Database Integration: Set up an InfluxDB time-series database to store the historical and real-time data securely.
Dashboard Creation: Design an interactive Grafana dashboard featuring current conditions, a 24-hour trend graph, and a clear "Go / Don't Go" run indicator.

## Slide 4
System Architecture
To ensure high availability and easy deployment, the entire stack will be orchestrated using Docker and Docker Compose.
The required 3 Containers:
Data Collector: Custom Python image to fetch API data and push to InfluxDB.
Database: InfluxDB 2.x for time-series data storage.
Visualization: Grafana for the real-time dashboard.
Orchestration: Docker Compose to manage networking and volume persistence between containers.

## Slide 5
System Architecture II
Team: Personal laptops for Docker development and testing.
Department Server: Linux VM with Docker & Docker Compose installed.
Department Resources: Minimum 2GB RAM, and a stable Internet connection.
Network Access: Port 3000 (Grafana) opened for university-wide dashboard access.

## Slide 6
Real-Time Data Sources
Data Sources:
  Open-Meteo API
  World Air Quality Index (WAQI) API

## Slide 7
Current State
Infrastructure: Full Docker Compose stack is live and stable.
Data Flow: Python container is successfully fetching and writing API data to InfluxDB.
Visualization: Grafana is connected and rendering real-time time-series graphs.

## Slide 8
Next steps
Polished Runability Score: Finalizing the weighted algorithm (balancing AQI vs. Temperature) to generate a single, accurate 0–100% score.
Actionable Dashboard: Replacing basic charts with high-readability Gauges, Stat Panels, and Color-coded Alerts (Green/Yellow/Red).
Data Enrichment: Integrating additional API parameters like PM2.5, Humidity, and Wind Speed into the final calculation logic.